## Administration Set
| Room / Office / Area |  |  |  | Existing Lighting System | [9 empty] | Proposed Lighting System
Column1 | Building | Space | Usage Type | Usage Hours | Sensor | Qty | Fixture Code | Fixture Type | # of Lamps | Lamp Type | Ballast Type | Exsiting WPF | Existing kW | Existing kWh | Up Qty | Proposed Upgrade Type | Proposed WPF | Proposed kW | Proposed kWh
4 | System Bldg | Lobby Cafe | Dining / Cafeteria and Student Lounge | 3990 |  | 20 | 4ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.96 | 3830.4 | 20 | 4' LED Tube - 2 | 30 | 0.6 | 2394
5 | System Bldg | Lobby Cafe | Dining / Cafeteria and Student Lounge | 3990 |  | 9 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.45 | 1795.5 | 9 | MR16LED7 | 7 | 0.06 | 251.37
6 | System Bldg | Cafe Side Room | Dining / Cafeteria and Student Lounge | 3990 |  | 44 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 2.2 | 8778 | 44 | MR16LED7 | 7 | 0.31 | 1228.92
8 | System Bldg | Serving Area | Kitchen Area | 3990 |  | 3 | 13TP2L T8 | Troffer Prismatic | 2 | 3', 25w T8, Fluorescent | Electronic | 46 | 0.14 | 550.62 | 3 | 3' LED Tube - 2 | 24 | 0.07 | 287.28
11 | System Bldg | Kitchen | Kitchen Area | 3990 |  | 42 | 24TP2L T8 (28w) | Troffer Parabolic | 2 | 4' 28w T8, Fluorescent | Electronic | 42 | 1.76 | 7038.36 | 42 | 4' LED Tube - 2 HO | 36 | 1.51 | 6032.88
12 | System Bldg | Vent Hood | Kitchen Area | 3990 |  | 8 | 14TP2L T8 (28w) | Troffer Prismatic | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.38 | 1532.16 | 8 | 4' LED Tube - 2 | 30 | 0.24 | 957.6
13 | System Bldg | Vent Hood | Kitchen Area | 3990 |  | 3 | 13TP2L T8 | Troffer Prismatic | 2 | 3', 25w T8, Fluorescent | Electronic | 46 | 0.14 | 550.62 | 3 | 3' LED Tube - 2 | 24 | 0.07 | 287.28
16 | System Bldg | Serving Table | Kitchen Area | 3990 |  | 8 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.4 | 1596 | 8 | MR16LED7 | 7 | 0.06 | 223.44
17 | System Bldg | Pantry | Kitchen Area | 3990 |  | 4 | 24TP2L T8 (28w) | Troffer Parabolic | 2 | 4' 28w T8, Fluorescent | Electronic | 42 | 0.17 | 670.32 | 4 | 4' LED Tube - 2 HO | 36 | 0.14 | 574.56
18 | System Bldg | Office | AD - Private Office | 4245 |  | 4 | 24TP2L T8 (28w) | Troffer Parabolic | 2 | 4' 28w T8, Fluorescent | Electronic | 42 | 0.17 | 713.16 | 4 | 4' LED Tube - 2 HO | 36 | 0.14 | 611.28
19 | System Bldg | RR Entry | AD - Common Area and Restrooms | 5070 |  | 2 | 24TP2L T8 (28w) | Troffer Parabolic | 2 | 4' 28w T8, Fluorescent | Electronic | 42 | 0.08 | 425.88 | 2 | 4' LED Tube - 2 | 30 | 0.06 | 304.2
20 | System Bldg | MRR/WRR | AD - Common Area and Restrooms | 5070 |  | 2 | 24TP2L T8 (28w) | Troffer Parabolic | 2 | 4' 28w T8, Fluorescent | Electronic | 42 | 0.08 | 425.88 | 2 | 4' LED Tube - 2 | 30 | 0.06 | 304.2
22 | System Bldg | Cooler | Kitchen Area | 3990 |  | 3 | IA1-60 | Screw In | 1 | Incandescent, 60w | N/A | 60 | 0.18 | 718.2 | 3 | ALED12 | 12 | 0.04 | 143.64
23 | System Bldg | Kitchen Lab | Kitchen Area | 3990 |  | 25 | 24TP2L T8 (28w) | Troffer Parabolic | 2 | 4' 28w T8, Fluorescent | Electronic | 42 | 1.05 | 4189.5 | 25 | 4' LED Tube - 2 HO | 36 | 0.9 | 3591
25 | System Bldg | Dishwasher | Kitchen Area | 3990 |  | 10 | 24TP2L T8 (28w) | Troffer Parabolic | 2 | 4' 28w T8, Fluorescent | Electronic | 42 | 0.42 | 1675.8 | 10 | 4' LED Tube - 2 HO | 36 | 0.36 | 1436.4
26 | System Bldg | Pantry | Kitchen Area | 3990 |  | 2 | 24TP2L T8 (28w) | Troffer Parabolic | 2 | 4' 28w T8, Fluorescent | Electronic | 42 | 0.08 | 335.16 | 2 | 4' LED Tube - 2 HO | 36 | 0.07 | 287.28
27 | System Bldg | Office | AD - Private Office | 4245 |  | 1 | 24TP2L T8 (28w) | Troffer Parabolic | 2 | 4' 28w T8, Fluorescent | Electronic | 42 | 0.04 | 178.29 | 1 | 4' LED Tube - 2 HO | 36 | 0.04 | 152.82
56 | System Bldg | MRR | AD - Common Area and Restrooms | 5070 |  | 8 | 14PB1L T8 (28w) | Troffer Parabolic | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.2 | 1014 | 8 | 4' LED Tube - 1 | 15 | 0.12 | 608.4
59 | System Bldg | WRR | AD - Common Area and Restrooms | 5070 |  | 8 | 14PB1L T8 (28w) | Troffer Parabolic | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.2 | 1014 | 8 | 4' LED Tube - 1 | 15 | 0.12 | 608.4
63 | System Bldg | Fire Command | AD - General Work Area | 5070 |  | 2 | 4W2L T8 | Wrap | 2 | 4' 32w T8, Fluorescent | Electronic | 58 | 0.12 | 588.12 | 2 | 4' LED Tube - 2 | 30 | 0.06 | 304.2
67 | System Bldg | Comm Room | AD - General Work Area | 5070 |  | 2 | 4S2L T8 (28w) | Strip | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.1 | 486.72 | 2 | 4' LED Tube - 2 | 30 | 0.06 | 304.2
93 | System Bldg | Comp Lab | Classroom | 2997 |  | 9 | IA1-60 | Screw In | 1 | Incandescent, 60w | N/A | 60 | 0.54 | 1618.11 | 9 | ALED12 | 12 | 0.11 | 323.622
96 | System Bldg | Comp Lab | Classroom | 2997 |  | 9 | IA1-60 | Screw In | 1 | Incandescent, 60w | N/A | 60 | 0.54 | 1618.11 | 9 | ALED12 | 12 | 0.11 | 323.622
121 | System Bldg | TV Studio | AD - General Work Area | 5070 |  | 30 | 4S2L T8 (28w) | Strip | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 1.44 | 7300.8 | 30 | 4' LED Tube - 2 | 30 | 0.9 | 4563
124 | System Bldg | Track Lights | AD - General Work Area | 5070 |  | 15 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.75 | 3802.5 | 15 | MR16LED7 | 7 | 0.11 | 532.35
126 | System Bldg | Track Lights | AD - General Work Area | 5070 |  | 16 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.8 | 4056 | 16 | MR16LED7 | 7 | 0.11 | 567.84
132 | System Bldg | Make up Mirror | AD - Locker and Dressing Rooms | 5070 |  | 6 | GLOBE40 | Screw In | 1 | Incandescent, 40w | N/A | 40 | 0.24 | 1216.8 | 6 | GLOBELED6 | 6 | 0.04 | 182.52
134 | System Bldg | Make up Mirror | AD - Locker and Dressing Rooms | 5070 |  | 6 | GLOBE40 | Screw In | 1 | Incandescent, 40w | N/A | 40 | 0.24 | 1216.8 | 6 | GLOBELED6 | 6 | 0.04 | 182.52
136 | System Bldg | Track Lights | AD - Private Office | 4245 |  | 4 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.2 | 849 | 4 | MR16LED7 | 7 | 0.03 | 118.86
138 | System Bldg | Track Lights | AD - Private Office | 4245 |  | 4 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.2 | 849 | 4 | MR16LED7 | 7 | 0.03 | 118.86
140 | System Bldg | Track Lights | AD - Private Office | 4245 |  | 4 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.2 | 849 | 4 | MR16LED7 | 7 | 0.03 | 118.86
143 | System Bldg | Track Lights | AD - Private Office | 4245 |  | 5 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.25 | 1061.25 | 5 | MR16LED7 | 7 | 0.04 | 148.575
145 | System Bldg | Track Lights | AD - Private Office | 4245 |  | 6 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.3 | 1273.5 | 6 | MR16LED7 | 7 | 0.04 | 178.29
148 | System Bldg | Track Lights | AD - Private Office | 4245 |  | 4 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.2 | 849 | 4 | MR16LED7 | 7 | 0.03 | 118.86
150 | System Bldg | Track Lights | AD - Private Office | 4245 |  | 5 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.25 | 1061.25 | 5 | MR16LED7 | 7 | 0.04 | 148.575
151 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 1 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.05 | 212.25 | 1 | MR16LED7 | 7 | 0.01 | 29.715
152 | System Bldg | Track Lights | AD - Private Office | 4245 |  | 4 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.2 | 849 | 4 | MR16LED7 | 7 | 0.03 | 118.86
153 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 1 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.05 | 212.25 | 1 | MR16LED7 | 7 | 0.01 | 29.715
154 | System Bldg | Track Lights | AD - Private Office | 4245 |  | 4 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.2 | 849 | 4 | MR16LED7 | 7 | 0.03 | 118.86
155 | System Bldg | Master Control | AD - General Work Area | 5070 |  | 4 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.2 | 1014 | 4 | MR16LED7 | 7 | 0.03 | 141.96
156 | System Bldg | Track Lights | AD - General Work Area | 5070 |  | 5 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.25 | 1267.5 | 5 | MR16LED7 | 7 | 0.04 | 177.45
157 | System Bldg | Back room | AD - General Work Area | 5070 |  | 4 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.2 | 1014 | 4 | MR16LED7 | 7 | 0.03 | 141.96
158 | System Bldg | Track Lights | AD - General Work Area | 5070 |  | 8 | MR-16 | Incandescent | 10 | Halogen, 50w | N/A | 50 | 0.4 | 2028 | 8 | MR16LED7 | 7 | 0.06 | 283.92
168 | System Bldg | Studio | AD - General Work Area | 5070 |  | 12 | 4S2L T8 (28w) | Strip | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.58 | 2920.32 | 12 | 4' LED Tube - 2 | 30 | 0.36 | 1825.2
193 | System Bldg | MRR | AD - Common Area and Restrooms | 5070 |  | 8 | 14PB1L T8 (28w) | Troffer Parabolic | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.2 | 1014 | 8 | 4' LED Tube - 1 | 15 | 0.12 | 608.4
195 | System Bldg | WRR | AD - Common Area and Restrooms | 5070 |  | 8 | 14PB1L T8 (28w) | Troffer Parabolic | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.2 | 1014 | 8 | 4' LED Tube - 1 | 15 | 0.12 | 608.4
200 | System Bldg | Lobby | AD - Common Area and Restrooms | 5070 |  | 13 | 24ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.62 | 3163.68 | 13 | 4' LED Tube - 2 | 30 | 0.39 | 1977.3
202 | System Bldg | Conference Services | AD - Meeting and Boardrooms | 4095 |  | 13 | 24ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.62 | 2555.28 | 13 | 4' LED Tube - 2 | 30 | 0.39 | 1597.05
203 | System Bldg | Meeting Room | AD - Meeting and Boardrooms | 4095 |  | 12 | 24ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.58 | 2358.72 | 12 | 4' LED Tube - 2 | 30 | 0.36 | 1474.2
205 | System Bldg | Meeting Room | AD - Meeting and Boardrooms | 4095 |  | 20 | 24ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.96 | 3931.2 | 20 | 4' LED Tube - 2 | 30 | 0.6 | 2457
207 | System Bldg | Meeting Room | AD - Meeting and Boardrooms | 4095 |  | 9 | 24ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.43 | 1769.04 | 9 | 4' LED Tube - 2 | 30 | 0.27 | 1105.65
210 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 1 | 24ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.05 | 203.76 | 1 | 4' LED Tube - 2 | 30 | 0.03 | 127.35
211 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.1 | 407.52 | 2 | 4' LED Tube - 2 | 30 | 0.06 | 254.7
212 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.1 | 407.52 | 2 | 4' LED Tube - 2 | 30 | 0.06 | 254.7
213 | System Bldg | Break Area | AD - Break and Lounge Areas | 5070 |  | 2 | 24ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.1 | 486.72 | 2 | 4' LED Tube - 2 | 30 | 0.06 | 304.2
214 | System Bldg | St Luke's Audit | AD - General Work Area | 5070 | 1 | 12 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 1.02 | 3361.41 | 12 | 4' LED Tube - 3 | 45 | 0.54 | 1779.57
216 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 4 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.34 | 1392.3 | 4 | 4' LED Tube - 3 | 45 | 0.18 | 737.1
218 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
219 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
220 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
221 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
222 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
223 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
224 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
225 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
226 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
229 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
230 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
246 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
259 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 6 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.51 | 2164.95 | 6 | 4' LED Tube - 3 | 45 | 0.27 | 1146.15
260 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
261 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
262 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
263 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
264 | System Bldg | Hall | AD - Common Area and Restrooms | 5070 |  | 15 | 24ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.72 | 3650.4 | 15 | 4' LED Tube - 2 | 30 | 0.45 | 2281.5
268 | System Bldg | Elev Lobby | AD - Common Area and Restrooms | 5070 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 430.95 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 228.15
270 | System Bldg | File Room | AD - General Work Area | 5070 |  | 8 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.68 | 3447.6 | 8 | 4' LED Tube - 3 | 45 | 0.36 | 1825.2
271 | System Bldg | MRR | AD - Common Area and Restrooms | 5070 |  | 8 | 4S1L T8 (28w) | Strip | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.2 | 1014 | 8 | 4' LED Tube - 1 | 15 | 0.12 | 608.4
272 | System Bldg | MRR | AD - Common Area and Restrooms | 5070 |  | 3 | 24ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.14 | 730.08 | 3 | 4' LED Tube - 2 | 30 | 0.09 | 456.3
273 | System Bldg | WRR | AD - Common Area and Restrooms | 5070 |  | 8 | 4S1L T8 (28w) | Strip | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.2 | 1014 | 8 | 4' LED Tube - 1 | 15 | 0.12 | 608.4
274 | System Bldg | WRR | AD - Common Area and Restrooms | 5070 |  | 3 | 24ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.14 | 730.08 | 3 | 4' LED Tube - 2 | 30 | 0.09 | 456.3
276 | System Bldg | Lobby Meeting Room | AD - Meeting and Boardrooms | 4095 |  | 6 | 24ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.29 | 1179.36 | 6 | 4' LED Tube - 2 | 30 | 0.18 | 737.1
277 | System Bldg | Auditorium Lobby | AD - Common Area and Restrooms | 5070 |  | 26 | 24ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 1.25 | 6327.36 | 26 | 4' LED Tube - 2 | 30 | 0.78 | 3954.6
279 | System Bldg | Auditorium | Auditorium / Lecture Hall | 2997 |  | 36 | 24ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 1.73 | 5177.95 | 36 | 4' LED Tube - 2 | 30 | 1.08 | 3236.22
283 | System Bldg | Sound Booth | AD - General Work Area | 5070 |  | 1 | IA1-60 | Screw In | 1 | Incandescent, 60w | N/A | 60 | 0.06 | 304.2 | 1 | ALED12 | 12 | 0.01 | 60.84
285 | System Bldg | MRR | AD - Common Area and Restrooms | 5070 |  | 2 | 4S1L T8 (28w) | Strip | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.05 | 253.5 | 2 | 4' LED Tube - 1 | 15 | 0.03 | 152.1
286 | System Bldg | WRR | AD - Common Area and Restrooms | 5070 |  | 5 | 4S1L T8 (28w) | Strip | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.13 | 633.75 | 5 | 4' LED Tube - 1 | 15 | 0.08 | 380.25
287 | System Bldg | WRR | AD - Common Area and Restrooms | 5070 |  | 2 | 4S1L T8 (28w) | Strip | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.05 | 253.5 | 2 | 4' LED Tube - 1 | 15 | 0.03 | 152.1
288 | System Bldg | Back Service Hall | AD - Common Area and Restrooms | 5070 |  | 6 | 4ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.29 | 1460.16 | 6 | 4' LED Tube - 2 | 30 | 0.18 | 912.6
292 | System Bldg | RR | AD - Common Area and Restrooms | 5070 |  | 2 | IA2-60 | Screw In | 2 | Incandescent, 60w | N/A | 120 | 0.24 | 1216.8 | 2 | 2ALED12 | 24 | 0.05 | 243.36
295 | System Bldg | Stair F | Stairs and Elevators | 8760 |  | 3 | 3W1L T12 | Wrap | 1 | 3' 30w T12, Fluorescent | Magnetic | 46 | 0.14 | 1208.88 | 3 | 3' LED Tube - 1 | 12 | 0.04 | 315.36
296 | System Bldg | Stair E | Stairs and Elevators | 8760 |  | 3 | 3W1L T12 | Wrap | 1 | 3' 30w T12, Fluorescent | Magnetic | 46 | 0.14 | 1208.88 | 3 | 3' LED Tube - 1 | 12 | 0.04 | 315.36
301 | System Bldg | Cove | AD - Common Area and Restrooms | 5070 |  | 24 | 4S2L T8 (28w) | Strip | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 1.15 | 5840.64 | 24 | 4' LED Tube - 2 | 30 | 0.72 | 3650.4
331 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 4 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.34 | 1392.3 | 4 | 4' LED Tube - 3 | 45 | 0.18 | 737.1
345 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 3 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.26 | 1044.23 | 3 | 4' LED Tube - 3 | 45 | 0.14 | 552.825
349 | System Bldg | Training Room | AD - General Work Area | 5070 |  | 12 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 1.02 | 5171.4 | 12 | 4' LED Tube - 3 | 45 | 0.54 | 2737.8
352 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
353 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
365 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
373 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
377 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
403 | System Bldg | MRR | AD - Common Area and Restrooms | 5070 |  | 8 | 14PB1L T8 (28w) | Troffer Parabolic | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.2 | 1014 | 8 | 4' LED Tube - 1 | 15 | 0.12 | 608.4
405 | System Bldg | WRR | AD - Common Area and Restrooms | 5070 |  | 8 | 14PB1L T8 (28w) | Troffer Parabolic | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.2 | 1014 | 8 | 4' LED Tube - 1 | 15 | 0.12 | 608.4
423 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 8 | 24TP2L T8 (28w) | Troffer Parabolic | 2 | 4' 28w T8, Fluorescent | Electronic | 42 | 0.34 | 1375.92 | 8 | 4' LED Tube - 2 HO | 36 | 0.29 | 1179.36
487 | System Bldg | WRR | AD - Common Area and Restrooms | 5070 |  | 8 | 14PB1L T8 (28w) | Troffer Parabolic | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.2 | 1014 | 8 | 4' LED Tube - 1 | 15 | 0.12 | 608.4
492 | System Bldg | Ups Room | AD - General Work Area | 5070 |  | 3 | 4S2L T8 (28w) | Strip | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.14 | 730.08 | 3 | 4' LED Tube - 2 | 30 | 0.09 | 456.3
494 | System Bldg | Lobby | AD - Common Area and Restrooms | 5070 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 430.95 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 228.15
495 | System Bldg | Lobby | AD - Common Area and Restrooms | 5070 |  | 7 | 3S1L T8 | Strip | 1 | 3' 25w T8, Fluorescent | Electronic | 23 | 0.16 | 816.27 | 7 | 3' LED Tube - 1 | 12 | 0.08 | 425.88
496 | System Bldg | Sign Coves | AD - Common Area and Restrooms | 5070 |  | 16 | 4S2L T8 (28w) | Strip | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.77 | 3893.76 | 16 | 4' LED Tube - 2 | 30 | 0.48 | 2433.6
498 | System Bldg | Study Room | AD - Common Area and Restrooms | 5070 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 861.9 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 456.3
499 | System Bldg | Break Area | AD - Break and Lounge Areas | 5070 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 430.95 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 228.15
500 | System Bldg | Under Counter | AD - Break and Lounge Areas | 5070 |  | 1 | 4W2L T8 | Wrap | 2 | 4' 32w T8, Fluorescent | Electronic | 58 | 0.06 | 294.06 | 1 | 4' LED Tube - 2 | 30 | 0.03 | 152.1
501 | System Bldg | File Room | AD - General Work Area | 5070 |  | 10 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.85 | 4309.5 | 10 | 4' LED Tube - 3 | 45 | 0.45 | 2281.5
502 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 4 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.34 | 1392.3 | 4 | 4' LED Tube - 3 | 45 | 0.18 | 737.1
503 | System Bldg | Office Bullpen | AD - General Work Area | 5070 |  | 46 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 3.91 | 19823.7 | 46 | 4' LED Tube - 3 | 45 | 2.07 | 10494.9
505 | System Bldg | File Room | AD - General Work Area | 5070 |  | 10 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.85 | 4309.5 | 10 | 4' LED Tube - 3 | 45 | 0.45 | 2281.5
506 | System Bldg | Kitchen | AD - Break and Lounge Areas | 5070 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 861.9 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 456.3
507 | System Bldg | Under Counter | AD - Break and Lounge Areas | 5070 |  | 4 | 4W1L T8 | Wrap | 1 | 4' 32w T8, Fluorescent | Electronic | 31 | 0.12 | 628.68 | 4 | 4' LED Tube - 1 | 15 | 0.06 | 304.2
509 | System Bldg | Cove Lights | AD - Break and Lounge Areas | 5070 |  | 4 | 3S2L T8 | Strip | 2 | 3' 25w T8, Fluorescent | Electronic | 46 | 0.18 | 932.88 | 4 | 3' LED Tube - 2 | 24 | 0.1 | 486.72
510 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
511 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
512 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
513 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
514 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
515 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
516 | System Bldg | File Room | AD - General Work Area | 5070 |  | 12 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 1.02 | 5171.4 | 12 | 4' LED Tube - 3 | 45 | 0.54 | 2737.8
517 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
518 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
519 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 696.15 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 368.55
520 | System Bldg | Hall | AD - Common Area and Restrooms | 5070 |  | 9 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.77 | 3878.55 | 9 | 4' LED Tube - 3 | 45 | 0.41 | 2053.35
521 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 4 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.34 | 938.15 | 4 | 4' LED Tube - 3 | 45 | 0.18 | 496.665
522 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
523 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
524 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
525 | System Bldg | File Room | AD - General Work Area | 5070 |  | 6 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.51 | 2585.7 | 6 | 4' LED Tube - 3 | 45 | 0.27 | 1368.9
526 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
527 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
528 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
529 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
530 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
531 | System Bldg | Office Bullpen | AD - General Work Area | 5070 |  | 20 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 1.7 | 8619 | 20 | 4' LED Tube - 3 | 45 | 0.9 | 4563
532 | System Bldg | Office | AD - General Work Area | 5070 |  | 4 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.34 | 1723.8 | 4 | 4' LED Tube - 3 | 45 | 0.18 | 912.6
533 | System Bldg | Office | AD - General Work Area | 5070 |  | 4 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.34 | 1723.8 | 4 | 4' LED Tube - 3 | 45 | 0.18 | 912.6
534 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 8 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.68 | 2784.6 | 8 | 4' LED Tube - 3 | 45 | 0.36 | 1474.2
536 | System Bldg | Bullpen Coves | AD - General Work Area | 5070 |  | 4 | 3S2L T8 | Strip | 2 | 3' 25w T8, Fluorescent | Electronic | 46 | 0.18 | 932.88 | 4 | 3' LED Tube - 2 | 24 | 0.1 | 486.72
537 | System Bldg | Bullpen | AD - General Work Area | 5070 |  | 104 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 8.84 | 44818.8 | 104 | 4' LED Tube - 3 | 45 | 4.68 | 23727.6
539 | System Bldg | Work Room | AD - General Work Area | 5070 |  | 8 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.68 | 3447.6 | 8 | 4' LED Tube - 3 | 45 | 0.36 | 1825.2
540 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
541 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
542 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
543 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
544 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
545 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
546 | System Bldg | Kitchen | AD - Break and Lounge Areas | 5070 |  | 3 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.26 | 1292.85 | 3 | 4' LED Tube - 3 | 45 | 0.14 | 684.45
547 | System Bldg | Under Counter | AD - Break and Lounge Areas | 5070 |  | 5 | 4W1L T8 | Wrap | 1 | 4' 32w T8, Fluorescent | Electronic | 31 | 0.16 | 785.85 | 5 | 4' LED Tube - 1 | 15 | 0.08 | 380.25
550 | System Bldg | MRR | AD - Common Area and Restrooms | 5070 |  | 8 | 4W2L T12 | Wrap | 2 | 4' 34w T12, Fluorescent | Magnetic | 82 | 0.66 | 3325.92 | 8 | 4' LED Tube - 2 | 30 | 0.24 | 1216.8
552 | System Bldg | WRR | AD - Common Area and Restrooms | 5070 |  | 8 | 4W2L T12 | Wrap | 2 | 4' 34w T12, Fluorescent | Magnetic | 82 | 0.66 | 3325.92 | 8 | 4' LED Tube - 2 | 30 | 0.24 | 1216.8
554 | System Bldg | Mall Room | AD - General Work Area | 5070 |  | 3 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.26 | 1292.85 | 3 | 4' LED Tube - 3 | 45 | 0.14 | 684.45
555 | System Bldg | Hall | AD - Common Area and Restrooms | 5070 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 861.9 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 456.3
556 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 8 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.68 | 2784.6 | 8 | 4' LED Tube - 3 | 45 | 0.36 | 1474.2
558 | System Bldg | Wall Cove | AD - Common Area and Restrooms | 5070 |  | 5 | 3S2L T8 | Strip | 2 | 3' 25w T8, Fluorescent | Electronic | 46 | 0.23 | 1166.1 | 5 | 3' LED Tube - 2 | 24 | 0.12 | 608.4
560 | System Bldg | Elev Lobby | AD - Common Area and Restrooms | 5070 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 430.95 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 228.15
562 | System Bldg | Work Room | AD - General Work Area | 5070 |  | 10 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.85 | 4309.5 | 10 | 4' LED Tube - 3 | 45 | 0.45 | 2281.5
563 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
564 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
565 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
566 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
567 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
568 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
570 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
571 | System Bldg | Common Area | AD - Common Area and Restrooms | 5070 |  | 8 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.68 | 3447.6 | 8 | 4' LED Tube - 3 | 45 | 0.36 | 1825.2
572 | System Bldg | Electrical Lobby | AD - Common Area and Restrooms | 5070 |  | 1 | 4W2L T8 | Wrap | 2 | 4' 32w T8, Fluorescent | Electronic | 58 | 0.06 | 294.06 | 1 | 4' LED Tube - 2 | 30 | 0.03 | 152.1
575 | System Bldg | Sign Coves | AD - Common Area and Restrooms | 5070 |  | 16 | 4S2L T8 (28w) | Strip | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.77 | 3893.76 | 16 | 4' LED Tube - 2 | 30 | 0.48 | 2433.6
577 | System Bldg | Lobby | AD - Common Area and Restrooms | 5070 |  | 42 | 3S2L T8 | Strip | 2 | 3' 25w T8, Fluorescent | Electronic | 46 | 1.93 | 9795.24 | 7 | 3' LED Tube - 2 | 24 | 0.17 | 851.76
578 | System Bldg | Copy Area | AD - General Work Area | 5070 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 430.95 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 228.15
579 | System Bldg | Under Counter | AD - General Work Area | 5070 |  | 2 | 4W1L T8 | Wrap | 1 | 4' 32w T8, Fluorescent | Electronic | 31 | 0.06 | 314.34 | 2 | 4' LED Tube - 1 | 15 | 0.03 | 152.1
580 | System Bldg | Office Bullpen | AD - General Work Area | 5070 |  | 32 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 2.72 | 13790.4 | 32 | 4' LED Tube - 3 | 45 | 1.44 | 7300.8
581 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 3 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.26 | 1044.23 | 3 | 4' LED Tube - 3 | 45 | 0.14 | 552.825
582 | System Bldg | File Room | AD - General Work Area | 5070 |  | 10 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.85 | 4309.5 | 10 | 4' LED Tube - 3 | 45 | 0.45 | 2281.5
583 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 696.15 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 368.55
584 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
585 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
586 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
587 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
588 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
589 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
590 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
591 | System Bldg | Wall Cove | AD - Common Area and Restrooms | 5070 |  | 5 | 3S2L T8 | Strip | 2 | 3' 25w T8, Fluorescent | Electronic | 46 | 0.23 | 1166.1 | 5 | 3' LED Tube - 2 | 24 | 0.12 | 608.4
593 | System Bldg | Kitchen | AD - Break and Lounge Areas | 5070 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 430.95 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 228.15
594 | System Bldg | Under Counter | AD - Break and Lounge Areas | 5070 |  | 1 | 4W1L T8 | Wrap | 1 | 4' 32w T8, Fluorescent | Electronic | 31 | 0.03 | 157.17 | 1 | 4' LED Tube - 1 | 15 | 0.02 | 76.05
596 | System Bldg | Office Bullpen | AD - General Work Area | 5070 |  | 120 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 10.2 | 51714 | 120 | 4' LED Tube - 3 | 45 | 5.4 | 27378
597 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
598 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
599 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
600 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
601 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
602 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
603 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
604 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
605 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
606 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
607 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
608 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
609 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
610 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
612 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 4 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.34 | 1392.3 | 4 | 4' LED Tube - 3 | 45 | 0.18 | 737.1
613 | System Bldg | Supply Room | AD - General Work Area | 5070 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 861.9 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 456.3
614 | System Bldg | Hall | AD - Common Area and Restrooms | 5070 |  | 4 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.34 | 1723.8 | 4 | 4' LED Tube - 3 | 45 | 0.18 | 912.6
615 | System Bldg | File Room | AD - General Work Area | 5070 |  | 3 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.26 | 1292.85 | 3 | 4' LED Tube - 3 | 45 | 0.14 | 684.45
616 | System Bldg | MRR | AD - Common Area and Restrooms | 5070 |  | 8 | 14PB1L T8 (28w) | Troffer Parabolic | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.2 | 1014 | 8 | 4' LED Tube - 1 | 15 | 0.12 | 608.4
618 | System Bldg | WRR | AD - Common Area and Restrooms | 5070 |  | 8 | 14PB1L T8 (28w) | Troffer Parabolic | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.2 | 1014 | 8 | 4' LED Tube - 1 | 15 | 0.12 | 608.4
621 | System Bldg | File Room | AD - General Work Area | 5070 |  | 10 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.85 | 4309.5 | 10 | 4' LED Tube - 3 | 45 | 0.45 | 2281.5
622 | System Bldg | Office | AD - General Work Area | 5070 |  | 6 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.51 | 2585.7 | 6 | 4' LED Tube - 3 | 45 | 0.27 | 1368.9
623 | System Bldg | Hall | AD - Common Area and Restrooms | 5070 |  | 5 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.43 | 2154.75 | 5 | 4' LED Tube - 3 | 45 | 0.23 | 1140.75
625 | System Bldg | Elev Lobby | AD - Common Area and Restrooms | 5070 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 430.95 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 228.15
627 | System Bldg | Work Room | AD - General Work Area | 5070 |  | 10 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.85 | 4309.5 | 10 | 4' LED Tube - 3 | 45 | 0.45 | 2281.5
628 | System Bldg | Work Room | AD - General Work Area | 5070 |  | 8 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.68 | 3447.6 | 8 | 4' LED Tube - 3 | 45 | 0.36 | 1825.2
629 | System Bldg | Wall Cove | AD - Common Area and Restrooms | 5070 |  | 5 | 3S2L T8 | Strip | 2 | 3' 25w T8, Fluorescent | Electronic | 46 | 0.23 | 1166.1 | 5 | 3' LED Tube - 2 | 24 | 0.12 | 608.4
631 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
632 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
633 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
634 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
635 | System Bldg | Bullpen | AD - General Work Area | 5070 |  | 46 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 3.91 | 19823.7 | 46 | 4' LED Tube - 3 | 45 | 2.07 | 10494.9
637 | System Bldg | Kitchen | AD - Break and Lounge Areas | 5070 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 430.95 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 228.15
638 | System Bldg | Under Counter | AD - Break and Lounge Areas | 5070 |  | 1 | 4W1L T8 | Wrap | 1 | 4' 32w T8, Fluorescent | Electronic | 31 | 0.03 | 157.17 | 1 | 4' LED Tube - 1 | 15 | 0.02 | 76.05
640 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
641 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 4 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.34 | 1392.3 | 4 | 4' LED Tube - 3 | 45 | 0.18 | 737.1
642 | System Bldg | Kitchen | AD - Break and Lounge Areas | 5070 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 430.95 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 228.15
643 | System Bldg | Under Counter | AD - Break and Lounge Areas | 5070 |  | 2 | 4W1L T8 | Wrap | 1 | 4' 32w T8, Fluorescent | Electronic | 31 | 0.06 | 314.34 | 2 | 4' LED Tube - 1 | 15 | 0.03 | 152.1
644 | System Bldg | Office | AD - General Work Area | 5070 |  | 8 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.68 | 3447.6 | 8 | 4' LED Tube - 3 | 45 | 0.36 | 1825.2
645 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
646 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
647 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
648 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
649 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
650 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
651 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
652 | System Bldg | Common Area | AD - Common Area and Restrooms | 5070 |  | 22 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 1.87 | 9480.9 | 22 | 4' LED Tube - 3 | 45 | 0.99 | 5019.3
656 | System Bldg | Lobby | AD - Common Area and Restrooms | 5070 |  | 8 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.68 | 3447.6 | 8 | 4' LED Tube - 3 | 45 | 0.36 | 1825.2
659 | System Bldg | Conf Area | AD - Break and Lounge Areas | 5070 |  | 7 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.6 | 3016.65 | 7 | 4' LED Tube - 3 | 45 | 0.32 | 1597.05
660 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
661 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
662 | System Bldg | Commons | AD - Common Area and Restrooms | 5070 |  | 5 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.43 | 2154.75 | 5 | 4' LED Tube - 3 | 45 | 0.23 | 1140.75
663 | System Bldg | File Room | AD - General Work Area | 5070 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 430.95 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 228.15
664 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
665 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
666 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
667 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
670 | System Bldg | Hall | AD - Common Area and Restrooms | 5070 |  | 12 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 1.02 | 5171.4 | 12 | 4' LED Tube - 3 | 45 | 0.54 | 2737.8
673 | System Bldg | MRR | AD - Common Area and Restrooms | 5070 |  | 8 | 14PB1L T8 (28w) | Troffer Parabolic | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.2 | 1014 | 8 | 4' LED Tube - 1 | 15 | 0.12 | 608.4
675 | System Bldg | WRR | AD - Common Area and Restrooms | 5070 |  | 8 | 14PB1L T8 (28w) | Troffer Parabolic | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.2 | 1014 | 8 | 4' LED Tube - 1 | 15 | 0.12 | 608.4
706 | System Bldg | Empty Suite | AD - General Work Area | 5070 |  | 52 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 4.42 | 22409.4 | 52 | 4' LED Tube - 3 | 45 | 2.34 | 11863.8
707 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 3 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.26 | 1082.48 | 3 | 4' LED Tube - 3 | 45 | 0.14 | 573.075
708 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
709 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
710 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
711 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
712 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
713 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
714 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
715 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
716 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
717 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 | 1 | 4 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.34 | 905 | 4 | 4' LED Tube - 3 | 45 | 0.18 | 479.115
719 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 6 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.51 | 2088.45 | 6 | 4' LED Tube - 3 | 45 | 0.27 | 1105.65
720 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 6 | IA1-60 | Screw In | 1 | Incandescent, 60w | N/A | 60 | 0.36 | 1474.2 | 6 | ALED12 | 12 | 0.07 | 294.84
721 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 | 1 | 6 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.51 | 1357.49 | 6 | 4' LED Tube - 3 | 45 | 0.27 | 718.6725
723 | System Bldg | Office | AD - General Work Area | 5070 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 430.95 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 228.15
724 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 | 1 | 6 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.51 | 1357.49 | 6 | 4' LED Tube - 3 | 45 | 0.27 | 718.6725
725 | System Bldg | Break Area | AD - Break and Lounge Areas | 5070 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 861.9 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 456.3
729 | System Bldg | Lobby | AD - Common Area and Restrooms | 5070 |  | 42 | 3S2L T8 | Strip | 2 | 3' 25w T8, Fluorescent | Electronic | 46 | 1.93 | 9795.24 | 7 | 3' LED Tube - 2 | 24 | 0.17 | 851.76
730 | System Bldg | Sign Coves | AD - Common Area and Restrooms | 5070 |  | 16 | 4S2L T8 (28w) | Strip | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.77 | 3893.76 | 16 | 4' LED Tube - 2 | 30 | 0.48 | 2433.6
735 | System Bldg | Hall | AD - Common Area and Restrooms | 5070 |  | 17 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 1.45 | 7326.15 | 17 | 4' LED Tube - 3 | 45 | 0.77 | 3878.55
738 | System Bldg | Open Office | AD - General Work Area | 5070 |  | 6 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.51 | 2585.7 | 6 | 4' LED Tube - 3 | 45 | 0.27 | 1368.9
740 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
741 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 360.83 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 191.025
742 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 360.83 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 191.025
743 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
744 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 234.54 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 124.1663
745 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 360.83 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 191.025
746 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 360.83 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 191.025
747 | System Bldg | Open Office | AD - General Work Area | 5070 |  | 4 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.34 | 1723.8 | 4 | 4' LED Tube - 3 | 45 | 0.18 | 912.6
748 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
749 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
750 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
751 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 6 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.51 | 2164.95 | 6 | 4' LED Tube - 3 | 45 | 0.27 | 1146.15
752 | System Bldg | Kitchen | AD - Break and Lounge Areas | 5070 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 430.95 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 228.15
753 | System Bldg | Under Counter | AD - Break and Lounge Areas | 5070 |  | 1 | 4W1L T8 | Wrap | 1 | 4' 32w T8, Fluorescent | Electronic | 31 | 0.03 | 157.17 | 1 | 4' LED Tube - 1 | 15 | 0.02 | 76.05
754 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
755 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
756 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
757 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 3 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.26 | 1044.23 | 3 | 4' LED Tube - 3 | 45 | 0.14 | 552.825
759 | System Bldg | Open Office | AD - General Work Area | 5070 |  | 26 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 2.21 | 11204.7 | 26 | 4' LED Tube - 3 | 45 | 1.17 | 5931.9
761 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
762 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
763 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 4 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.34 | 1392.3 | 4 | 4' LED Tube - 3 | 45 | 0.18 | 737.1
764 | System Bldg | Bullpen | AD - General Work Area | 5070 |  | 25 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 2.13 | 10773.75 | 25 | 4' LED Tube - 3 | 45 | 1.13 | 5703.75
766 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 234.54 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 124.1663
768 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 3 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.26 | 1082.48 | 3 | 4' LED Tube - 3 | 45 | 0.14 | 573.075
769 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
770 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
772 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
773 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
774 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
775 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
776 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
777 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
778 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 3 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.26 | 703.61 | 3 | 4' LED Tube - 3 | 45 | 0.14 | 372.4987
779 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
780 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
781 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
782 | System Bldg | Bullpen | AD - General Work Area | 5070 |  | 16 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 1.36 | 6895.2 | 16 | 4' LED Tube - 3 | 45 | 0.72 | 3650.4
783 | System Bldg | Kitchen | AD - Break and Lounge Areas | 5070 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 861.9 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 456.3
785 | System Bldg | Comp Lab | Classroom | 2997 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 331.11 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 175.2953
786 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
787 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
788 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
789 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
790 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
791 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
792 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
794 | System Bldg | Open Office | AD - General Work Area | 5070 |  | 32 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 2.72 | 13790.4 | 32 | 4' LED Tube - 3 | 45 | 1.44 | 7300.8
796 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
797 | System Bldg | Copy Area | AD - General Work Area | 5070 | 1 | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 280.12 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 148.2975
800 | System Bldg | Kitchen | AD - Break and Lounge Areas | 5070 | 1 | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 280.12 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 148.2975
801 | System Bldg | Under Counter | AD - Break and Lounge Areas | 5070 | 1 | 2 | 4S1L T8 (28w) | Strip | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.05 | 164.78 | 2 | 4' LED Tube - 1 | 15 | 0.03 | 98.865
802 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
803 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
804 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
805 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
806 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
807 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
808 | System Bldg | Supply Room | AD - General Work Area | 5070 |  | 3 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.26 | 1292.85 | 3 | 4' LED Tube - 3 | 45 | 0.14 | 684.45
809 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 2 | 4ID2L T8 (28w) | Indirect | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.1 | 393.12 | 2 | 4' LED Tube - 2 | 30 | 0.06 | 245.7
811 | System Bldg | Office | AD - Private Office | 4245 |  | 4 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.34 | 1443.3 | 4 | 4' LED Tube - 3 | 45 | 0.18 | 764.1
812 | System Bldg | Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
813 | System Bldg | Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
814 | System Bldg | Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
815 | System Bldg | Supply Room | AD - General Work Area | 5070 |  | 4 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.34 | 1723.8 | 4 | 4' LED Tube - 3 | 45 | 0.18 | 912.6
816 | System Bldg | Office | AD - General Work Area | 5070 |  | 5 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.43 | 2154.75 | 5 | 4' LED Tube - 3 | 45 | 0.23 | 1140.75
817 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 696.15 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 368.55
818 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
819 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
820 | System Bldg | Common Area | AD - Common Area and Restrooms | 5070 |  | 28 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 2.38 | 12066.6 | 28 | 4' LED Tube - 3 | 45 | 1.26 | 6388.2
821 | System Bldg | Training Room | AD - General Work Area | 5070 |  | 15 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 1.28 | 6464.25 | 15 | 4' LED Tube - 3 | 45 | 0.68 | 3422.25
823 | System Bldg | Training Room | AD - General Work Area | 5070 |  | 15 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 1.28 | 6464.25 | 15 | 4' LED Tube - 3 | 45 | 0.68 | 3422.25
825 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 8 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.68 | 2784.6 | 8 | 4' LED Tube - 3 | 45 | 0.36 | 1474.2
827 | System Bldg | Break Room | AD - Lounge / Break Area | 5070 |  | 8 | IA1-60 | Screw In | 1 | Incandescent, 60w | N/A | 60 | 0.48 | 2433.6 | 8 | ALED12 | 12 | 0.1 | 486.72
829 | System Bldg | Office | AD - General Work Area | 5070 |  | 6 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.51 | 2585.7 | 6 | 4' LED Tube - 3 | 45 | 0.27 | 1368.9
830 | System Bldg | Office | AD - General Work Area | 5070 |  | 6 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.51 | 2585.7 | 6 | 4' LED Tube - 3 | 45 | 0.27 | 1368.9
832 | System Bldg | MRR | AD - Common Area and Restrooms | 5070 |  | 8 | 14PB1L T8 (28w) | Troffer Parabolic | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.2 | 1014 | 8 | 4' LED Tube - 1 | 15 | 0.12 | 608.4
834 | System Bldg | WRR | AD - Common Area and Restrooms | 5070 |  | 8 | 14PB1L T8 (28w) | Troffer Parabolic | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.2 | 1014 | 8 | 4' LED Tube - 1 | 15 | 0.12 | 608.4
836 | System Bldg | Elev Lobby | AD - Common Area and Restrooms | 5070 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 430.95 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 228.15
838 | System Bldg | Office | AD - General Work Area | 5070 |  | 8 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.68 | 3447.6 | 8 | 4' LED Tube - 3 | 45 | 0.36 | 1825.2
841 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 360.83 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 191.025
843 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 360.83 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 191.025
844 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 360.83 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 191.025
845 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 360.83 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 191.025
846 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 1 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.09 | 360.83 | 1 | 4' LED Tube - 3 | 45 | 0.05 | 191.025
847 | System Bldg | Office Bullpen | AD - General Work Area | 5070 |  | 36 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 3.06 | 15514.2 | 36 | 4' LED Tube - 3 | 45 | 1.62 | 8213.4
849 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 4 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.34 | 938.15 | 4 | 4' LED Tube - 3 | 45 | 0.18 | 496.665
850 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 6 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.51 | 1407.22 | 6 | 4' LED Tube - 3 | 45 | 0.27 | 744.9975
851 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 452.5 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 239.5575
852 | System Bldg | Office Area | AD - General Work Area | 5070 |  | 6 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.51 | 2585.7 | 6 | 4' LED Tube - 3 | 45 | 0.27 | 1368.9
853 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
854 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
855 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
856 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
857 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 4 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.34 | 1443.3 | 4 | 4' LED Tube - 3 | 45 | 0.18 | 764.1
858 | System Bldg | Pvt Office | AD - Private Office | 4245 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 721.65 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 382.05
859 | System Bldg | Conf Room | AD - Meeting and Boardrooms | 4095 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 696.15 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 368.55
860 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
861 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 469.07 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 248.3325
862 | System Bldg | File Room | AD - General Work Area | 5070 |  | 3 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.26 | 1292.85 | 3 | 4' LED Tube - 3 | 45 | 0.14 | 684.45
863 | System Bldg | File Room | AD - General Work Area | 5070 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 861.9 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 456.3
864 | System Bldg | Bullpen Area | AD - General Work Area | 5070 |  | 18 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 1.53 | 7757.1 | 18 | 4' LED Tube - 3 | 45 | 0.81 | 4106.7
866 | System Bldg | Pvt Office | AD - Private Office | 4245 | 1 | 3 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.26 | 703.61 | 3 | 4' LED Tube - 3 | 45 | 0.14 | 372.4987
867 | System Bldg | Open Office | AD - General Work Area | 5070 |  | 8 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.68 | 3447.6 | 8 | 4' LED Tube - 3 | 45 | 0.36 | 1825.2
868 | System Bldg | File Room | AD - General Work Area | 5070 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 861.9 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 456.3
869 | System Bldg | File Room | AD - General Work Area | 5070 |  | 2 | 24PB3L T8 | Troffer Parabolic | 3 | 4' 32w T8, Fluorescent | Electronic | 85 | 0.17 | 861.9 | 2 | 4' LED Tube - 3 | 45 | 0.09 | 456.3
925 | System Bldg | MRR | AD - Common Area and Restrooms | 5070 |  | 8 | 14PB1L T8 (28w) | Troffer Parabolic | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.2 | 1014 | 8 | 4' LED Tube - 1 | 15 | 0.12 | 608.4
927 | System Bldg | WRR | AD - Common Area and Restrooms | 5070 |  | 8 | 14PB1L T8 (28w) | Troffer Parabolic | 1 | 4' 28w T8, Fluorescent | Electronic | 25 | 0.2 | 1014 | 8 | 4' LED Tube - 1 | 15 | 0.12 | 608.4
983 | System Bldg | Doorway | AD - Private Office | 4245 |  | 1 | IA1-60 | Screw In | 1 | Incandescent, 60w | N/A | 60 | 0.06 | 254.7 | 1 | ALED12 | 12 | 0.01 | 50.94
1007 | System Bldg | MRR | AD - Common Area and Restrooms | 5070 |  | 8 | 14PB2L T8 (28w) | Troffer Parabolic | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.38 | 1946.88 | 8 | 4' LED Tube - 2 | 30 | 0.24 | 1216.8
1009 | System Bldg | WRR | AD - Common Area and Restrooms | 5070 |  | 8 | 14PB2L T8 (28w) | Troffer Parabolic | 2 | 4' 28w T8, Fluorescent | Electronic | 48 | 0.38 | 1946.88 | 8 | 4' LED Tube - 2 | 30 | 0.24 | 1216.8
1050 | System Bldg | Stairs | Stairs and Elevators | 8760 |  | 80 | 4W2L T8 | Wrap | 2 | 4' 32w T8, Fluorescent | Electronic | 58 | 4.64 | 40646.4 | 80 | 4' LED Tube - 2 | 30 | 2.4 | 21024
2374